COMPANION TOOLKIT · TOOL T-2

# Data-Source Inventory

Owner, access, refresh, coding and blind spots for every source that can reveal a device signal

Signal Management in Medical Device Vigilance · Dr. Hafez Selim, MD, PhD · Selim Medical Press · © 2026

| Purpose | Records, for each data source, who owns it, how the company gets access, how often data refresh, which coding standard applies, and which failure modes the source cannot see — so that the detection strategy can be argued rather than assumed. |
| --- | --- |
| When to use | Complete once per device family; review each time the PMS plan is updated, when a new source is added, and after any signal that was detected late. |
| Chapter reference | Chapter 5, Sources of Device Signals — section 5.5 (Table 5.2). |

# Header

| Device family |  | PMS plan version |  |
| --- | --- | --- | --- |
| Completed by |  | Date |  |
| Reviewed by |  | Next review |  |

# Part 1 — Source inventory

The last column matters most: write down each source's blind spots. Refresh intervals and access routes are company choices, not regulatory requirements.

| Source | Owner | Access and refresh | Coding | Known blind spots |
| --- | --- | --- | --- | --- |

Sources to consider: complaint system; service and repair records; returned-device and explant analysis; manufacturing and supplier records; PMCF studies; registries; literature; AEMS (which absorbed the former MAUDE database) and other authority databases; device telemetry and logs; sales and distribution data (denominators).

# Part 2 — Hazard-to-source coverage map

Map each high-severity hazard in the risk management file to at least one source that can see it. Flag any hazard with no source, and record the lag between a failure and its detection; that lag belongs in the benefit–risk reasoning.

| Hazard (risk file ID) | Source(s) that can see it | Detection lag | No source? (flag) | Action / owner |
| --- | --- | --- | --- | --- |

# Part 3 — Who carries data across boundaries

Name the person who puts one source next to another (for example, the manufacturing change log next to registry revision reasons).

| Sources to be compared | Person responsible | Frequency | Record of the comparison |
| --- | --- | --- | --- |

### Review

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| PMS lead |  |  |  |
| Vigilance lead |  |  |  |

# Example (fictional case)

All names, numbers and events below are fictional composites from the book's case dossiers. They show the expected level of detail, not a regulatory standard. Tessora hip, completed after the registry signal (complaints were flat; the registry showed O/E 1.85).

| Source | Owner | Access and refresh | Coding | Known blind spots |
| --- | --- | --- | --- | --- |
| Complaint system | Complaint-handling lead | Internal; continuous | IMDRF terms | Revisions at other hospitals; late failures |
| National joint registry | Vigilance lead | Annual report; data request on outlier | Registry revision reasons | Harm without revision; size often missing |
| PMCF study | Clinical affairs | Protocol visits; interim reports | Protocol definitions | Small sample; selected sites |
| Explant analysis | Product engineering | On return; ad hoc | IMDRF Annex C findings | Explants rarely returned |
| Manufacturing records | Quality engineering | Internal; monthly review | Nonconformance codes | No field outcome |

Table 5.2 — Data-source inventory (Tool T-2), partly completed for Tessora (illustrative).

Lesson recorded for Tessora: the annual registry report means a failure may run for more than a year before detection, and the missing step was a person who would put the manufacturing change log (locking-ring tolerance change, Year 3, month 4) next to the registry's revision reasons.