COMPANION TOOLKIT · TOOL T-4

# Joint Clinical–Engineering Review Form

Keeps observed facts, reporter claims, bench findings, interpretation, alternatives and open questions apart

Signal Management in Medical Device Vigilance · Dr. Hafez Selim, MD, PhD · Selim Medical Press · © 2026

| Purpose | A form completed jointly by a clinical reviewer and an engineering reviewer. It keeps six kinds of information separate so that a reader can tell what was seen from what was inferred, and it ends with three signed decisions. |
| --- | --- |
| When to use | For any cluster, novel failure mode or serious event. Company example triggers: any event with a novel failure location; any cluster from one lot or site; any serious injury with a device problem. Write your triggers into the signal-management SOP. |
| Chapter reference | Chapter 7, Clinical and Engineering Review — section 7.5 (Table 7.2). |

# Identification

| Signal / alert ID |  | Product and lot(s) |  |
| --- | --- | --- | --- |
| Data cut |  | Trigger for this form |  |
| Clinical reviewer |  | Engineering reviewer |  |
| Linked complaint IDs |  | Date of joint review |  |

# Review

| Section | Entry | Source | Status |
| --- | --- | --- | --- |
| Observed facts |  |  |  |
| Reporter claims |  |  |  |
| Bench findings |  |  |  |
| Interpretation |  |  |  |
| Alternatives |  |  |  |
| Open questions |  |  |  |

Status examples: Verified; Awaiting records; Joint conclusion; Assigned, with owner and due date.

## Chronology (optional)

| Date / day | Event | Source | Record ID |
| --- | --- | --- | --- |

# Decisions (each signed by both reviewers)

| Decision | Yes / No | Rationale | Clinical reviewer | Engineering reviewer |
| --- | --- | --- | --- | --- |
| 1. Is the alert validated for assessment? |  |  |  |  |
| 2. Is immediate containment (for example, lot quarantine) needed? |  |  |  |  |
| 3. Must reportability be assessed now? |  |  |  |  |

## Filing

☐  Form filed in the signal record: ID ____________

☐  Form linked to every related complaint record, so the connection survives when the complaints close.

# Example (fictional case)

All names, numbers and events below are fictional composites from the book's case dossiers. They show the expected level of detail, not a regulatory standard. Neoflo central venous catheter, lot 24-121, at the data cut.

| Section | Entry | Source | Status |
| --- | --- | --- | --- |
| Observed facts | Seal channels in 7 of 40 unopened pouches, lot 24-121; 0 of 40 in lots 24-120 and 24-122 | Dye-penetration test report | Verified |
| Reporter claims | Three bloodstream infections within 48 hours of insertion | Hospital infection prevention nurse | Awaiting clinical records |
| Bench findings | Channels cross the seal width; test method ASTM F1929 | Packaging engineering | Verified |
| Interpretation | Sterile-barrier failure is the most coherent explanation | Safety physician and packaging engineer | Joint conclusion |
| Alternatives | Insertion practice; infusate; skin preparation | Review team | None explains seal channels |
| Open questions | Other lots used at the hospital; organisms; other customers of lot 24-121 | Review team | Assigned, with owners |

Table 7.2 — Joint clinical–engineering review form (Tool T-4), partly completed for Neoflo lot 24-121 (illustrative).

| Decision | Neoflo answer |
| --- | --- |
| Validated for assessment? | Yes |
| Immediate containment needed? | Yes |
| Reportability to be assessed now? | Yes |

For Neoflo the answer to all three decisions was yes. The weekly meeting connected a separate complaint from the same hospital describing a wrinkled pouch seal; the cause was later found to be temperature-controller drift on the pouch sealer.