COMPANION TOOLKIT · TOOL T-5

# PMS Plan Trend-Methodology Section

Template for writing the trend method into the PMS plan and justifying every threshold

Signal Management in Medical Device Vigilance · Dr. Hafez Selim, MD, PhD · Selim Medical Press · © 2026

| Purpose | A template section for the post-market surveillance plan that states the trend metric, denominator, baseline, screening rules, reporting triggers and severity method, each with its justification, plus the records required when a rule fires. |
| --- | --- |
| When to use | When writing or revising a PMS plan; at each annual methodology review; whenever a threshold fires and the decision is not to report. Use with Tool T-6 (trend calculator). |
| Chapter reference | Chapter 8, Trend Analysis and Statistical Process Control — section 8.5 (Table 8.2). |

# Identification

| Product / family |  | PMS plan number and version |  |
| --- | --- | --- | --- |
| Section number |  | Author |  |
| Approved by |  | Date approved |  |

# Section 1 — Method and justification

Values are company choices. Present them as examples of the company's method, never as regulatory requirements.

| Element | Entry | Justification |
| --- | --- | --- |
| Metric and denominator |  |  |
| Baseline |  |  |
| Screening rules |  |  |
| Reporting triggers |  |  |
| Severity method |  |  |

# Section 2 — Operating details (required)

| Observation period (fixed baseline period and charting window) |  |
| --- | --- |
| Owner of each monthly review (name / role) |  |
| Exact binomial or Poisson check (when used and how recorded) |  |
| Record required when a screening rule fires and no report is filed |  |
| Date of the next methodology review |  |

# Section 3 — Log: rule fired, no report filed

When a threshold fires and the answer is "no report", the record must show the limits, the denominator, the reasoning and the name of the person who decided.

| Period / date | Rule that fired | Limits and denominator | Reasoning | Decided by (name, role, date) |
| --- | --- | --- | --- | --- |

### Approval

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| PMS plan owner |  |  |  |
| Vigilance lead |  |  |  |
| Statistician |  |  |  |

# Example (fictional case)

All names, numbers and events below are fictional composites from the book's case dossiers. They show the expected level of detail, not a regulatory standard. Suturex circular stapler, section 1 completed. Output of the calculator for the same case: Tool T-6, Example sheet (Table 8.1).

| Element | Suturex entry | Justification |
| --- | --- | --- |
| Metric and denominator | Misfire complaints per 1,000 units sold, monthly | Single-use device; about 20 expected per month supports charting |
| Baseline | 0.40 per 1,000, fixed period stated in the plan | Stable period before the supplier change; reviewed annually |
| Screening rules | Any point beyond 2σ; CUSUM k = 0.5, h = 4 | Opens a signal review; catches sustained shifts of about one SD |
| Reporting triggers | One point beyond 3σ, or 2 of 3 consecutive beyond 2σ | Balances false alarms against delay; exact binomial check recorded |
| Severity method | Clinical review of every event with harm beyond "prolonged procedure" | Counts too small to chart; new harm is a potential signal |

Table 8.2 — PMS plan trend-methodology section (Tool T-5), completed for Suturex (illustrative).

| Quantity | Suturex value |
| --- | --- |
| Expected count per month | 50,000 × 0.0004 = 20 |
| Standard deviation | √(50,000 × 0.0004 × 0.9996) = 4.47 |
| 2σ limit | 28.9 complaints (0.58 per 1,000) |
| 3σ limit | 33.4 complaints (0.67 per 1,000) |

Limits that follow from the entries (Chapter 8, Steps 1–3). The Year 2 tracker lacked the "rule fired, no report" record: months of 29 and 30 were logged only as "closed — within limits".