COMPANION TOOLKIT · TOOL T-12

# Signal Assessment Protocol

Turns a validated signal into a written question, an analysis plan and a decision link — before any data request goes out

Signal Management in Medical Device Vigilance · Dr. Hafez Selim, MD, PhD · Selim Medical Press · © 2026

| Purpose | A two-to-four-page protocol in nine sections: signal identification and data cut; background, including what the risk file already says; the primary question; secondary questions; the device-adapted PICOTS frame; data sources with what each can and cannot answer; analysis methods; the decision link; and sign-off. |
| --- | --- |
| When to use | For every validated signal before assessment starts. Approved by the signal owner, the clinical lead and the statistician before any data request goes out. Store the signed protocol in the signal record. |
| Chapter reference | Chapter 14, Developing the Assessment Question — section 14.5 (Tables 14.1 and 14.2). |

# 1. Signal identification and data cut

| Signal record ID |  | Device / versions / lots / sizes |  |
| --- | --- | --- | --- |
| Data cut(s) |  | Protocol version and date |  |

# 2. Background and risk file position

| What the risk file already says (hazard, severity, probability estimate) |  |
| --- | --- |
| How the signal was detected and validated (memo reference) |  |

# 3. Primary question

| Primary question (one sentence: device scope, population, comparator, outcome, time) |  |
| --- | --- |

# 4. Secondary questions

| Secondary question | Pre-specified or exploratory | Rationale |
| --- | --- | --- |

# 5. Device-adapted PICOTS frame

| Element | Entry | What the data show (complete after analysis) |
| --- | --- | --- |
| Device scope (model, version, lot, size, period) |  |  |
| Population and setting |  |  |
| Comparator |  |  |
| Outcome and time |  |  |
| Decision link |  |  |

# 6. Data sources

State the limit of each source next to its use (for example, "complaints: narrative only").

| Source | Used to answer | Cannot answer / limit | Data owner and request date |
| --- | --- | --- | --- |

# 7. Analysis methods

| Statistics and methods (e.g., O/E with exact interval; funnel limits; Kaplan–Meier; rates by stratum) |  |
| --- | --- |
| Handling of missing data and duplicates |  |
| Tools used (e.g., T-6, T-7, T-8) |  |

# 8. Decision link

Pre-set the action for each possible finding, before the data are seen.

| Possible finding | Pre-set action |
| --- | --- |
| No excess |  |
| Diffuse excess |  |
| Concentrated excess |  |
| Indeterminate |  |

| Out of scope (and where it is handled) |  |
| --- | --- |

# 9. Sign-off (before any data request)

### Approval

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Signal owner |  |  |  |
| Clinical lead |  |  |  |
| Statistician |  |  |  |

## Amendment log

| Date | Change | Reason | Pre-specified or exploratory | Approved by |
| --- | --- | --- | --- | --- |

If a stratum is added after seeing the data, the protocol says so and the result is reported as exploratory.

# Example (fictional case)

All names, numbers and events below are fictional composites from the book's case dossiers. They show the expected level of detail, not a regulatory standard. Tessora hip, registry outlier at the Year 6 annual report.

| Protocol section | Entry (Tessora, partly filled) |
| --- | --- |
| Signal and data cut | Registry outlier, Year 6 annual report; complaints to Year 6, month 6 |
| Risk file position | Liner dissociation listed as a known hazard; probability estimate to be reviewed |
| Primary question | Five-year all-cause revision vs comparable cementless constructs, case-mix adjusted |
| Secondary questions | Liner size (pre-specified); manufacturing period split at Year 3, month 4 (pre-specified) |
| Data sources | Registry extract (outcome, denominator); complaints (narrative only); manufacturing records (period, size) |
| Analysis | O/E with exact Poisson interval; funnel limits at 95% and 99.8%; Kaplan–Meier five-year revision |
| Decision link | No excess / diffuse / concentrated / indeterminate, with pre-set actions |
| Out of scope | Individual serious-incident reportability (handled under Article 87 procedure) |
| Sign-off | Signal owner, clinical lead, statistician; date before data request |

Table 14.2 — Tool T-12 signal assessment protocol, partly filled for Tessora (illustrative, company tool).

| Element | Tessora entry | What the Year 6 cut showed |
| --- | --- | --- |
| Device scope | Cementless construct, liners 44–60 mm, split at Year 3, month 4 | 6,000 primaries in the registry |
| Population and setting | Primary total hip arthroplasty, national registry sites | Case-mix adjusted |
| Comparator | Comparable cementless constructs | Five-year revision 2.4% (95% CI 2.2–2.6) |
| Outcome and time | All-cause revision at five years; liner dissociation | Tessora 4.1% (95% CI 3.3–5.1); O/E 1.85 |
| Decision link | Pre-set actions for each finding | Concentrated excess: FSCA and CAPA |

Table 14.1 — The Tessora assessment question in the device PICOTS frame (illustrative).